| # Type G Electrical Outlet |  |  |
| --- | --- | --- |
| ## Type G Electrical Receptacle | ## Countries Using Type G Electric Plug |  |
| #### Information on the Type G British 3-pin Electrical Adapter Plug and Electrical Outlet The Type G electrical plug is a British three-pin rectangular blade plug that has a protective fuse inside to protect cords from high-current circuits. Type G outlets generally include safety switches. | Bahrain, Bangladesh, Belize, Botswana, Brunei, Cameroon, Channel Islands, China, Cyprus, Dominica, El Salvador, Gambia, Ghana, Gibraltar, Grenada, Guatemala, Guyana, Hong Kong, Iraq, Ireland, Isle of Man, Jordan, Kenya, Kuwait, Lebanon, Macau, Malawi, Malaysia, Maldives, Malta, Mauritius, Myanmar, Nigeria, Oman, Qatar, St. Kitts-Nevis, St. Lucia, St. Vincent, Saudi Arabia, Seychelles, Sierra Leone, Singapore, Tanzania, Uganda, United Arab Emirates, United Kingdom, Vietnam, Yemen, Zambia, Zimbabwe. |  |

## Information on The Type G Electrical Outlet

The Type G plug is commonly known as the 13-amp plug, and technically known as the BS 1363 (British 13 A/230-240 V 50 Hz earthed and fused). For safety reasons, UK wiring regulations require home sockets to have shutters over the live and neutral connections. These shutters are opened by the insertion of the longer earth pin. The shutters also help prevent the use of incompatible plugs made to other standards. It is sometimes possible to open the shutters with a screwdriver in order to insert Type C or other plugs, but this is not advised, as such plugs will not have a fuse.